## Slide 1
Specific Heat Capacities of Low Temperature Water—Ammonia Mixtures Down to the Eutectic
Bing Hong Chua1
Mentors: Dr. Steven D. Vance2
Dr. Mathieu Choukroun2
1Nanyang Technological University, Singapore
2Jet Propulsion Laboratory, California Institute of Technology

## Slide 2: Abstract
Obtained low temperature specific heat measurements of H2O – NH3 mixtures
Highlight inaccuracies in the currently adopted equation of state
Provide novel data for constructing a new equation of state
Contribute to improving accuracy of planetary models

## Slide 3: Introduction
the water—ammonia system
Abundant in the outer solar system
Interior Structure
  anti-freeze enables subsurface oceans
Habitability
  source of reduced nitrogen for abiotic amino acid synthesis
A. Angelich (NRAO/AUI/NSF)/ ALMA/ ESO

## Slide 4: Introduction
the pipeline
Geophysical Models
Equations of State (EoS)
Thermodynamic Data
isobaric specific heat capacity (Cp)
Styczinszki et al., 2022 (preprint)

## Slide 5: Introduction
the current Cp understanding
Current EoS by Tillner-Roth & Friend, 1998
Sparse data in the parameter space relevant to planetary studies (low T, low composition)
Motivation provide novel Cp data in desired parameter space

## Slide 6: Methods
differential scanning calorimetry (DSC)
Principle: measures difference in heat flow between sample and reference cells
Temperature profile
  Cool to 120 K
  Heat at 0.1 K min-1
  End at 300 or 320 K
~4 days per experiment
sample
reference

## Slide 7: Methods
calibration
Pure water—ice
  Systematic deviation from Feistel & Wagner, 2006
Correction function applied to all samples

## Slide 8: Methods
heat flow thermogram
Liquidus point
  Determine ammonia concentration
Instrument noise
  3-K bin average
Two phase domains
  Pure liquid domain
  Partial melting domain

## Slide 9: Methods
heat flow thermogram
Liquidus point
  Determine ammonia concentration
Instrument noise
  3-K bin average
Two phase domains
  Pure liquid domain
  Partial melting domain

## Slide 10: Methods
In liquid phase, specific heat capacity ():
heat flow
mass of sample
change in temperature
specific heat extraction

## Slide 11: Methods
In partial melting domain, multiple processes:
  Melting of ice
  Heating of ice fraction
  Mixing of melted ice
  Heating of liquid fraction
Assumes system equilibrium
specific heat extraction

## Slide 12: Methods
In partial melting domain, specific heat capacity:
  Melting of ice
  Heating of ice fraction
  Mixing of melted ice
specific heat extraction

## Slide 13: Methods
specific heat extraction
Minimal heat for mixing
Lower concentration  lower proportion to heat liquid fraction
Higher temperature  rapid ice melting  system in disequilibrium

## Slide 14: Methods
microscopy
Assess equilibrium assumption
Melting proceeds gradually, with no crystal regrowth or melt migration.
At high temperatures, melting proceeds rapidly.

## Slide 15: Methods
overview
Run calorimeter
Apply correction
Calculate liquid phase Cp
Decompose thermodynamic processes
Calculate partial melting domain Cp

## Slide 16: Results
liquid phase Cp
Shomate fit
Increase with temperature
Change in gradient
Crossover point

## Slide 17: Results
liquid phase Cp
Compared with literature values
General agreement
  Magnitude
  Trend

## Slide 18: Results
liquid phase Cp
Compared with EoS
Magnitude
  smaller than EoS
Gradient
  steeper than EoS
Crossover point temperature
  lower than EoS

## Slide 19: Results
liquid phase Cp
EoS is a combination of water and ammonia EoS
Super-cooled state of water
  Cp increases rapidly
Behavior transposed onto H2O—NH3 system
Data suggests a stronger suppression of this behavior

## Slide 20: Results
liquid phase Cp
Deviations decrease with increasing temperature
Tapers off and stabilize

## Slide 21: Results
partial melting domain Cp
All samples run along the liquidus
High scatter
Quadratic fit
Closest literature value fall within 95% prediction interval

## Slide 22: Results
partial melting domain Cp
In theory, along liquidus Cp should align with liquid phase Cp

## Slide 23: Discussion
interior models
Assess effect of change in Cp
Pure water ocean, but with Cp modified by deviations of 5.2 wt% from EoS.
Lower ocean Cp  Warmer adiabatic profile  Thicker ocean, Thinner high pressure ice
Original Cp
Modified Cp

## Slide 24: Discussion
interior models
Assess effect of change in Cp
Pure water ocean, but with Cp modified by deviations of 5.2 wt% from EoS.
Lower ocean Cp  Warmer adiabatic profile  Thicker ocean, thinner high pressure ice (4.55 km)
Original Cp
Modified Cp

## Slide 25: Discussion
interior models
Only Cp tested
New EoS, other properties are also modified.
Original Cp
Modified Cp

## Slide 26: Discussion
new equation of state
EoS in development by Journaux et al.
Better constrain the suppression of the critical behavior of super-cooled water at low concentrations
Especially relevant for conditions found on icy moons (< 270 K)

## Slide 27: Conclusion
Geophysical Models
Equations of State (EoS)
Thermodynamic Data
isobaric specific heat capacity (Cp)

## Slide 28: Conclusion
Realistic Geophysical Models
Robust Equations of State (EoS)
Accurate Thermodynamic Data
isobaric specific heat capacity (Cp)
Informs Science Objectives

## Slide 29: Key References
Tillner-Roth, R.; Friend, D. G. A Helmholtz Free Energy Formulation of the Thermodynamic Properties of the Mixture {Water + Ammonia}. Journal of Physical and Chemical Reference Data 1998, 27, 63–96.
Chan, J. P.; Giauque, W. F. The Entropy of NH3·2H2O. Heat Capacity from 15 to 300°K.1. The Journal of Physical Chemistry 1964, 68, 3053–3057.
Wrewsky, M.; Kaigorodoff, A. I. Warmekapazitat wasseriger Losungen von Chlorwasserstoff und Ammoniak bei verschiedenen Temperaturen. Zeitschrift fur Physikalische Chemie 1924, 112U, 83–89.
Croft, S.; Lunine, J.; Kargel, J. Equation of state of ammonia-water liquid: Derivation and planetological applications. Icarus 1988, 73, 279–293.
Feistel, R.; Wagner, W. A New Equation of State for H2O Ice Ih. Journal of Physical and Chemical Reference Data 2006, 35, 1021–1047.
Journaux, B.; Brown, J. M.; Pakhomova, A.; Collings, I. E.; Petitgirard, S.; Espinoza, P.; Ballaran, T. B.; Vance, S. D.; Ott, J.; Cova, F.; Garbarino, G.; Hanfland, M.Holistic Approach for Studying Planetary Hydrospheres: Gibbs Representation of Ices Thermodynamics, Elasticity, and the Water Phase Diagram to 2, 300 MPa. Journal of Geophysical Research: Planets 2020, 125.
Wagner, W.; Pruß, A. The IAPWS formulation 1995 for the thermodynamic properties of ordinary water substance for general and scientific use. Journal of physical and chemical reference data 2002, 31, 387–535.
Journaux, B.; Brown, J. M.; Abramson, E.; Vance, S. The thermodynamics of ammonia rich planetary oceans: Equation of State for water-ammonia and water-ammonia-salt solutions from surface to abyssal conditions. AGU Fall Meeting Abstracts. 2021; pp P44A–08.
Vance, S. D.; Panning, M. P.; Stahler, S.; Cammarano, F.; Bills, B. G.; Tobie, G.; Kamata, S.; Kedar, S.; Sotin, C.; Pike, W. T.; Lorenz, R.; Huang, H.-H.; Jackson, J. M.; Banerdt, B. Geophysical Investigations of Habitability in Ice-Covered Ocean Worlds. Journal of Geophysical Research: Planets 2018, 123, 180–205.

## Slide 30: Acknowledgements
Mentors – Steve, Mathieu, Mohit, Elodie, Marshall, Tuan, Baptiste for the guidance
Peers – summer, fall, winter interns for the company
JPL & Benoit – for the opportunity