## Slide 1
Density
Quick run through of the process
Current cp values
Thermogram double peaks
Summary

## Slide 2
Standard density (28-30wt%, 15C) = 0.9 g/ml
Old bottle measured density (20wt%, ?C) = 0.7885 g/ml
New bottle measured density (27wt%, ?C) = 0.6158 g/ml
Not sure what causes the density difference
Lower density, lower calculated wt%
Impact on cp discussed later
Density Differences

## Slide 3
Start with thermogram
Process

## Slide 4
Thermogram offsets
Process
Samples | ADH Melt (K) | Offset (K) | H2O (K) | Offset (K) | Liquidus (K)
0 wt. % | - | - | 273.72 | 0.57 | 273.15
1.42wt% | 175.85 | -0.15 | 274.54 | 2.47 | 272.07
2.84wt% | 175.99 | 0.00 | 271.011 | 0.48 | 270.53
5.11wt% | 175.98 | -0.02 | 268.21 | 0.82 | 267.39
6.88wt% | 175.98 | -0.02 | 262.89 | -1.67 | 264.56

## Slide 5
Start with thermogram
Extract cp from partial melt regime & pure liquid phase
Process

## Slide 6
Melting phase: combination of 3 processes:
  Heat to melt ice
  Heat to warm ice
  Heat to warm liquid
, and terms from expt
terms extracted from lever rule (depends on wt%)
extracted from Feistel & Wagner, 2006
extracted from SeaFreeze
Find
Deconvolution

## Slide 7
Latent Heat
extracted from SeaFreeze
Hwater – Hice
Extrapolate for values below 240K

## Slide 8
Specific heats calculated between peritectic and liquidus based on calculated
Some overlap with ADH melting
Heat deconvolution model breaks down near liquidus
Specific Heat

## Slide 9
Aside: Specific Heat & wt%
0.9 g/ml density to calculate wt% (top row)
Significant sensitivity of cp based on wt% (Fc, heat to melt ice)

## Slide 10
Specific heats calculated between peritectic and liquidus based on calculated
Some overlap with ADH melting
Heat deconvolution model breaks down near liquidus
By eye, picked out ‘usable’ datapoints. Not sure if this is the best approach.
Specific Heat

## Slide 11
Specific Heat

## Slide 12
Specific Heat
Literature values: Hildenbrand (1953), Chan (1964) and Giauque
Could not find source for Zinner 1934

## Slide 13
Specific Heat
Overall

## Slide 14
Specific Heat
Melt phase: Difference in slopes
  Not sure why
  Possible avenues
    Check if differences arise in thermogram
    Linear combination offsets

## Slide 15
Specific Heat
Pure Phase: Similar values for low conc.
  Not sure why

## Slide 16
Specific Heat
Pure Phase: Similar values for low conc.
  Not sure why
Fit is not useful, but perhaps suggest higher conc., lower cp?

## Slide 17
Specific Heat
AMH Melt: double peak

## Slide 18
Summary of Questions
How should we deal with the density?
  Trust our measurements
How should determine which data to keep in the melt phase?
How do we resolve the higher cp in melt phase?
How do we resolve the similar cp in pure phase?
How do we resolve the seeming crossover in cp over concentrations?

## Slide 19
Summary of Actions
Get ice specific heat from 0wt% run
Get running average of pure liquid regime
Get running average of melting regime
  Check for periodicity signals
Check density correlation with concentration in seafreeze EOS / Tillner-Roth
Check the precision /uncertainty of pipette and mass balance (density measurement)
Re-run experiments
  in between conc (10-20wt%)
  Higher T range (~320K)
  1mL run to check for ADH double peak (low heat flow) (2.84wt%)
    Double check set of heatflow correction coefficients (check manual/dropdown menu, or old expts with low heat flow (meteorite runs)