## Slide 1
Happy New Year!
Reorganizing my analysis pipeline to smooth data first, then calculate Cp
Manuscript plans
Main Updates

## Slide 2
Hyperbolic tangent fit
With Temperature Offset (tanh) |  |  |  | 
T_offset from tanh (K) | Adjusted T (K) | adjusted wt% | absolute error | relative error (%)
0.5 | 267.2 | 5.2 | 0.5 | 9.6
0.5 | 262.3 | 8.2 | 0.3 | 3.7
0.5 | 262.0 | 8.4 | 0.3 | 3.6
0.4 | 259.2 | 10.0 | 0.2 | 2.0
0.3 | 250.4 | 14.3 | 0.1 | 0.7
0.1 | 235.1 | 20.07 | 0.03 | 0.1
0.01 | 207.4 | 26.912 | 0.002 | 0.007

## Slide 3
Chose 3K bins
Took 1-sigma of the difference between the 2 blanks.
Smoothing before Calculations

## Slide 4
Smoothing before Calculations
SMOOTH THEN CALCULATE
CALCULATE THEN SMOOTH (OLD)

## Slide 5
Smoothing before Calculations
SMOOTH THEN CALCULATE
CALCULATE THEN SMOOTH (OLD)

## Slide 6
Chose 3K bins
Error bars are 1-sigma of Cp datapoints.
Still trying to figure out how to obtain 2-sigma confidence interval of shomate fit.
  (I have sigma of each coefficient in shomate)
Smoothing before Calculations

## Slide 7
Chose 3K bins
Error bars are 1-sigma of Cp datapoints.
Still trying to figure out how to obtain 2-sigma confidence interval of shomate fit.
  (I have sigma of each coefficient in shomate)
Overall shomate fit seems within 1-sigma of data
Smoothing before Calculations

## Slide 8
Chose 3K bins
Error bars are 1-sigma of Cp datapoints.
Still trying to figure out how to obtain 2-sigma confidence interval of shomate fit.
  (I have sigma of each coefficient in shomate)
Smoothing before Calculations
Kink ~295K. My thoughts are to remove datapoints here (quite a few), as it appear to affect shomate

## Slide 9
Smoothing before Calculations
Kink ~295K. My thoughts are to remove datapoints here (quite a few), as it appear to affect shomate

## Slide 10
Chose 3K bins
Error bars are 1-sigma of Cp datapoints.
Still trying to figure out how to obtain 2-sigma confidence interval of shomate fit.
  (I have sigma of each coefficient in shomate)
Smoothing before Calculations
Kink ~295K. My thoughts are to remove datapoints here (quite a few), as it appear to affect shomate

## Slide 11
Deviations

## Slide 12
Deviations
Dashed lines are Tillner-Roth & Friend
TRF suggests a crossover point ~298K

## Slide 13
Deviations
Dashed lines are Tillner-Roth & Friend
General uptrend of model in low wt %

## Slide 14
Deviations
Dashed lines are SeaFreeze (LBF_2_2p3GPa.mat)
SF also has crossover ~298K

## Slide 15
Deviations
Dashed lines are SeaFreeze (LBF_2_2p3GPa.mat)

## Slide 16
https://www.overleaf.com/3299537498fhjqhckknjms
Request for comments:
  Introduction
  Experimental methods (after tomorrow)
  Results (after next Thursday)
Discussion:
  How this work compares with current models (TRF, SF)
  1st order planetary implications
Manuscript in progress

## Slide 17
Are there systematic errors associated with calorimeter?
  Do NaCl runs as a sanity check.
  Require NaCl cp reference
  Old experiments are saturated NaCl solutions, or >0.1 K/min
Is the equilibrium assumption in the partial melting regime valid?
  Run at very low ramp rate (0.01 K/min)
  Cuvette slide experiment
Leftover questions

## Slide 18
Tried FFT
Doesn’t work on heat flow data
Smoothing before Calculations

## Slide 19
Dealing with oscillations & error bars: are they acceptable for applications?
Current Result (3K averaging)

## Slide 20
Current Result (3K averaging)