## Experiments
No. | Date | T_max(K) | HeatFlow | Ramp_(T/min) | NH3_bottle | change_tips | V_NH3(mL) | V_err | V_H2O(mL) | V_err | Mass(g) | Mass_err | ADH_Peak(K) | ADH_Offset(K) | Liquidus_Peak(K) | wt% | wt%_err | wt%_err% | wt%_offset (-0.5K) | wt% (lab) | T_offset_polynomial | T_polynomial | wt%_offset_polynomial | wt%_offset_polynomial_err | wt%_offset_polynomial_err_% | T_tanh | wt%_offset_polynomial | wt%_offset_polynomial_err | wt%_offset_polynomial_err_%
Blank | 2022-06-13 | 299.15 | Large | 0.25
| 2022-06-23 | 299.15 | Large | 0.25 | old | N | 0.44 | 0.005 | 4.56 | 0.03 | 4.874 | 0.0001 | 177.19 | 1.19 | 278.29
| 2022-06-27 | 299.15 | Large | 0.25 | old | N | 0.87 | 0.006 | 4.13 | 0.03 | 4.7479 | 0.0001 | 177.03 | 1.03 | 272.2
| 2022-07-12 | 299.15 | Large | 0.25 | old | N | 1.5 | 0.01 | 3.5 | 0.02 | 4.5983 | 0.0001 | 176.49 | 0.49 | 269.5
| 2022-07-14 | 299.15 | Large | 0.25 | old | N | 2 | 0.01 | 3 | 0.02 | 4.55 | 0.0001 | 176.52 | 0.52 | 260.09
| 2022-07-20 | 299.15 | Large | 0.25 | old | N | 2.5 | 0.02 | 2.5 | 0.02 | 4.3987 | 0.0001 | 176.71 | 0.71 | 259.66
| 2022-07-25 | 299.15 | Large | 0.25 |  | N | 0 | 0 | 5 | 0.03 | 4.9859 | 0.0001 |  |  |  | 0
| 2022-08-08 | 299.15 | Large | 0.25 | old | N | 0.87 | 0.006 | 4.13 | 0.03 | 4.7648 | 0.0001 | 176.53 | 0.53 | 274.6
| 2022-08-09 | 299.15 | Large | 0.1 |  | N | 0 | 0 | 2.5 | 0.02 | 2.5108 | 0.0001 |  |  |  | 0
Blank | 2022-08-15 | 299.15 | Large | 0.1
| 2022-08-19 | 299.15 | Large | 0.1 | old | N | 2 | 0.01 | 3 | 0.02 | 4.5858 | 0.0001 | 175.984 | -0.016 | 262.5 | 8.1 | 0.3 | 3.7037 | 8.4 | 6.8821 | 0.45497 | 262.045 | 8.4 | 0.3 | 3.5714
| 2022-08-25 | 299.15 | Large | 0.1 | new | N | 5 | 0.03 | 0 | 0 | 3.7778 | 0.0001 | 175.988 | -0.012 | 207.4 | 26.9 | 0.1 | 0.37175 | 27 | 25.2601 | 0.10069 | 207.2993 | 26.93 | 0.0405 | 0.15039
| 2022-09-01 | 299.15 | Large | 0.1 | old | N | 0.44 | 0.005 | 4.56 | 0.03 | 4.8873 | 0.0001 | 175.85 | -0.15 | 274.5 | *1.42 | * |  |  | 1.4207
| 2022-09-06 | 299.15 | Large | 0.1 | old | N | 0.87 | 0.006 | 4.13 | 0.03 | 4.8402 | 0.0001 | 175.999 | -0.001 | 271 | 2.5 | 0.5 | 20 | 2.9 | 2.8364 | 0.5293 | 270.4707 | 2.9 | 0.5 | 17.2414
| 2022-09-12 | 299.15 | Large | 0.1 | old | N | 1.5 | 0.01 | 3.5 | 0.02 | 4.6293 | 0.0001 | 175.98 | -0.02 | 267.8 | 4.9 | 0.5 | 10.2041 | 5.2 | 5.1131 | 0.5007 | 267.2993 | 5.2 | 0.5 | 9.6154
| 2022-09-16 | 299.15 | Large | 0.1 | old | N | 2.5 | 0.02 | 2.5 | 0.02 | 4.5202 | 0.0001 | 175.955 | -0.045 | 259.6 | 9.7 | 0.3 | 3.0928 | 10 | 8.7275 | 0.43082 | 259.1692 | 10 | 0.2 | 2
| 2022-09-22 | 319.15 | Small | 0.1 | old | N | ? |  | ? |  | 0.9642 | 0.0001 | 176.054 | 0.054 | *270.5 | 2.9 | 0.4 | 13.7931 | 3.3 |  | liquidus manually picked
| 2022-09-29 | 319.15 | Large | 0.1 | new | N | 4.084 | 0.03 | 0.916 | 0.006 | 3.7107 | 0.0001 | 176.013 | 0.013 | 235.2 | 20 | 0.2 | 1 | 20.2 | 21.0056 | 0.25182 | 234.9482 | 20.1 | 0.1 | 0.49751
Blank | 2022-10-10 | 319.15 | Large | 0.1
| 2022-10-14 | 319.15 | Large | 0.1 | new | Y | 3.199 | 0.024 | 1.801 | 0.012 | 3.8153 | 0.0001 | 176.024 | 0.024 | 250.7 | 14.2 | 0.3 | 2.1127 | 14.4 | 16.0026 | 0.3605 | 250.3395 | 14.4 | 0.2 | 1.3889
Blank | 2022-10-20 | 319.15 | Small | 0.1
| 2022-10-27 | 319.15 | Large | 0.1 | new | Y | 2.077 | 0.018 | 2.923 | 0.018 | 4.1943 | 0.0001 | 175.983 | -0.017 | 262.8 | 7.9 | 0.3 | 3.7975 | 8.2 | 9.4511 | 0.45751 | 262.3425 | 8.2 | 0.3 | 3.6585
| 2022-10-31 | 319.15 | Large | 0.1 | new | Y | 0.988 | 0.006 | 4.012 | 0.03 | 4.6844 | 0.0001 | 175.999 | -0.001 | 270.5 | 2.9 | 0.4 | 13.7931 | 3.3 | 4.0254 | 0.52479 | 269.9752 | 3.3 | 0.4 | 12.1212
| 2022-11-07 | 320.15 | Large | 0.1 | new | Y | 0.508 | 0.006 | 4.492 | 0.029 | 4.8505 | 0.0001 | 176.18 | 0.18 | 273.4777 | *2.0 |  |  | 0.3 | 1.9989 | liquidus manually picked
| 2022-11-11 | 321.15 | Large | 0.1 | new | Y | 1.44 |  | 3.56 |  | 4.5386 |  | 176.007 | 0.007 | 267.7 | 4.9 | 0.5 | 10.2041 | 5.2 | 6.0554 | 0.49982 | 267.2002 | 5.2 | 0.5 | 9.6154
| ramp | 0.25 K/min | 0.10 K/min
| supply bottle | old | old | new
| no. of Expt | 6 | 5 | 7 | 18

## Mass
2.84 wt% TESTS | 2022-10-04 |  |  | mass | rho |  | 2022-10-06 |  | mass | rho |  | 2022-10-10 |  | mass | rho |  | 2022-10-11 |  | mass | rho |  | 2022-10-14 |  | mass | rho
| 10 times |  |  | 4.7913 | 0.95826 |  | 5 times |  | 0.9125 | 0.9125 |  | 5 times |  | 4.7383 | 0.94766 |  | 4 times |  | 0.9068 | 0.9068 |  | 5 times |  | 4.7572 | 0.95144
| 5 ml |  |  | 4.761 | 0.9522 |  | 1 ml |  | 0.9096 | 0.9096 |  | 5 ml |  | 4.7299 | 0.94598 |  | 1 ml |  | 0.9166 | 0.9166 |  | 5 ml |  | 4.7174 | 0.94348
| 2.84 wt% |  |  | 4.7589 | 0.95178 |  | 2.84 wt% |  | 0.9228 | 0.9228 |  | 2.84 wt% |  | 4.7347 | 0.94694 |  | 2.84 wt% |  | 0.9104 | 0.9104 |  | 2.84 wt% |  | 4.7145 | 0.9429
| 4.288 ml H2O |  |  | 4.748 | 0.9496 |  | 0.858 ml H2o |  | 0.9112 | 0.9112 |  | 4.288 ml H2O |  | 4.7238 | 0.94476 |  | 0.858 ml H2o |  |  |  |  | 4.288 ml H2O |  | 4.7318 | 0.94636
| 0.712 ml NH4OH |  |  | 4.7548 | 0.95096 |  | 0.142 ml NH4OH |  | 0.9089 | 0.9089 |  | 0.712 ml NH4OH |  | 4.737 | 0.9474 |  | 0.142 ml NH4OH |  |  |  |  | 0.712 ml NH4OH |  | 4.7331 | 0.94662
| no change of tips |  |  | 4.7477 | 0.94954 |  | change tips |  |  |  |  | change tips |  |  |  |  | change tips |  |  |  |  | change tips
| rho = 0.7092 |  |  | 4.7644 | 0.95288 |  | rho = 0.7156 |  |  |  |  | rho = 0.7095 |  |  |  |  | rho = 0.7156 |  |  |  |  | rho = 0.7095
|  |  |  | 4.7722 | 0.95444
|  |  |  | 4.7735 | 0.9547
|  |  |  | 4.7761 | 0.95522
|  |  | mean | 4.7648 | 0.95296 |  |  | mean | 0.913 | 0.913 |  |  | mean | 4.7327 | 0.94655 |  |  | mean | 0.91127 | 0.91127 |  |  | mean | 4.7308 | 0.94616
|  |  | sd | 0.013681 | 0.0027361 |  |  | sd | 0.0056546 | 0.0056546 |  |  | sd | 0.0059349 | 0.001187 |  |  | sd | 0.0049571 | 0.0049571 |  |  | sd | 0.016945 | 0.003389
|  |  | range | 0.0436 |  |  |  | range | 0.0139 |  |  |  | range | 0.0145
NH4OH RHO | NH4OH rho measurements, 1 ml, new bottle | [10 empty] | NH4OH rho measurements, 5 ml, new bottle
| Date | Mean rho |  | Date | 2022-09-12 | 2022-09-26 | 2022-10-04 | 2022-10-06 | 2022-10-10 | 2022-10-14 |  | Date | Mean rho |  | Date | 2022-10-04
| 2022-09-12 | 0.6158 |  | Raw rho | 0.6158 | 0.6765 | 0.7184 | 0.7156 | 0.7292 | 0.688 |  | 2022-10-04 | 0.76637 |  | Raw mass | 3.8104
| 2022-09-26 | 0.6765 |  |  |  |  | 0.7092 |  | 0.6925 | [6 empty] | 3.8533
| 2022-10-04 | 0.7138 | [6 empty] | 0.7043
| 2022-10-06 | 0.7156 | [6 empty] | 0.7082
| 2022-10-10 | 0.7095 | [6 empty] | 0.7133
| 2022-10-14 | 0.688
CALIBRATION | 2022-10-10 |  | mass | rho |  | 2022-10-10 |  | mass | rho |  | Calibrated masses |  |  | Mass Balance | 2022-10-19
| 5 times |  | 5.0299 | 1.006 |  | 5 times |  | 1.0077 | 1.0077 | [5 empty] | cell | cell + samp
| 5 ml |  | 4.9846 | 0.99692 |  | 1 ml |  | 0.9951 | 0.9951 |  | 4.06 |  |  | 624 | 70.1138 | 70.7974 | 0.6836
| 0 wt % |  | 4.997 | 0.9994 |  | 0 wt % |  | 0.9983 | 0.9983 |  | 4.07 |  |  | OHL | 70.1117 | 70.795 | 0.6833
| 5 ml H2O |  | 5.0024 | 1.0005 |  | 1 ml |  | 0.9957 | 0.9957
|  |  | 4.9913 | 0.99826 |  |  |  | 0.9963 | 0.9963 | [5 empty] | 0.0021 | 0.0024
|  | mean | 5.001 | 1.0002 |  |  | mean | 0.99862 | 0.99862
|  | sd | 0.017437 | 0.0034874 |  |  | sd | 0.0052165 | 0.0052165
|  | range | 0.0275 |  |  |  | range | 0.012
EVAP TEST | 2022-10-14 |  | 1 ml, outside |  | 1ml, hood |  | 5ml, outside |  | 5ml, hood
|  | start* | 0.683 |  | 0.6699 |  | 4.3052 |  | 4.1466
|  | 1min | 0.671 | 0.012 | 0.6543 | 0.0156 | 4.2847 | 0.0205 | 4.1247 | 0.0219
|  | 2min | 0.6591 | 0.0119 | 0.6446 | 0.0097 | 4.2639 | 0.0208 | 4.1042 | 0.0205
|  | 3min | 0.6501 | 0.009 | 0.6347 | 0.0099 | 4.2447 | 0.0192 | 4.087 | 0.0172
VOLATILES | 2022-10-17 | THF | 5 ml | 5 ml rho | diff | 1 ml | diff | [5 empty] | Methanol | 5 ml | 5 ml rho | diff | 1 ml | diff |  |  | Surface Tension
|  | Theoretical | 4.1676 | 0.83352 | -0.05548 | 0.8382 | -0.0508 | [5 empty] | Theoretical | 3.8379 | 0.76758 | -0.02442 | 0.7688 | -0.0232 |  |  | H2O | NH4OH | THF | CH3OH
|  | 0.889 | 4.1763 | 0.83526 | -0.05374 | 0.832 | -0.057 | [5 empty] | 0.792 |  |  |  | 0.7681 | -0.0239 |  |  | 72.8 | 18.1-23.4 | 26.4 | 22.7
|  |  | 4.1716 | 0.83432 | -0.05468 | 0.8341 | -0.0549 | [14 empty] | 57.5
33353988.pdf (core.ac.uk)
DRIP TEST | 2022-10-17 | Drops Lost | Mass |  | Mass/Drop
|  | 4 | 0.6714 |  | 0.01665
|  | 4 | 0.6675
|  | 6 | 0.6318 |  |  | 3 | 4 | 5
|  | 6 | 0.6405 |  |  | 0.04995 | 0.0666 | 0.08325
COLD TEST | 2022-11-07 | Mass | T (bottle) | T (cell)
|  | 0.8227 | 4.2 | 12.6
|  | 0.8096 | 8 | 20.1
|  | 0.7949 | 9.3 | 20.5
|  | 0.8125 | 10.3 | 20.6
|  | 0.8001 | 10.5 | 20.7
CAL ACC TEST | 2022-11-16 |  | Theoretical | Cal | Diff |  |  | Organic Compounds, C4 to C5, pp. 73-114 (springer.com)
|  | THF | 164.75 | 164.798 | 0.048
|  | CP | 122.38 | 122.393 | 0.013
|  | CP | 122.38 | 122.294 | -0.086
|  | H2O | 273.15 | 273.817 | 0.667
|  | H2O | 273.15 | 273.716 | 0.566
|  | ADH | 176 | 175.989 | -0.011
VAPOR PRESS | 2022-11-16 | T_box | T_Bottle | T_Cell | Mass | Vol Loss?
|  | -10 |  | -3.3 | 0.887
|  | -10 |  | 5 | 0.8494
|  | -10 | -12 | -13 | 0.8193
|  | -10 | -12 | -10 | 0.7763
|  | -10 |  |  | 0.7947 | volume not fixed, had to draw in pipette slowly
|  | -10 | -8.1 | -10 | 0.8626
|  | -10 | -3 | -4.1 | 0.8718 | [10 empty] | Species | Eutectic Temperature | Peak Onset Temperature | Measured - Theoretical
|  | -10 | -4.3 | -6.4 | 0.8455 | [10 empty] | MgCl2 | 240.48 | 240.775 | 0.295 |  | 0.0041583 | 3.3898 |  | -0.51342
|  | 0 | -6.8 | -5.2 | 0.8492 | [10 empty] | NaCl | 252.29 | 252.46 | 0.17 |  | 0.0039637 | 5.8824 |  | -0.35914
|  | 0 | -2 | 6 | 0.8216 | [10 empty] | ADH | 176 | 175.984 | -0.016 |  | 0.0056818 | -62.5 |  | 0.21738
|  | 0 | -5.4 | -1.8 | 0.8628 | [10 empty] | ADH | 176 | 175.988 | -0.012 |  | 0.0056818 |  |  | 0.21738
|  | 10 | 4.5 | 11 | 0.8304 | [10 empty] | ADH | 176 | 175.85 | -0.15 |  | 0.0056818 | -6.6667 |  | 0.21738
|  | 10 | 4.7 | 12.3 | 0.8326 | [10 empty] | ADH | 176 | 175.999 | -0.001 |  | 0.0056818 |  |  | 0.21738
|  | 10 | 7 | 13.6 | 0.8442 | 1 drip | [9 empty] | ADH | 176 | 175.98 | -0.02 |  | 0.0056818 | -50 |  | 0.21738
|  | 20 | 18 | 13.4 | 0.7446 | [10 empty] | ADH | 176 | 175.955 | -0.045 |  | 0.0056818 |  |  | 0.21738
|  | 20 | 19.5 | 14.8 | 0.7666 | [10 empty] | ADH | 176 | 176.054 | 0.054 |  | 0.0056818 | 18.5185 |  | 0.21738
|  | 20 | 20.1 | 16 | 0.7563 | 3 drips | [9 empty] | ADH | 176 | 176.013 | 0.013 |  | 0.0056818 | 76.9231 |  | 0.21738
[16 empty] | ADH | 176 | 176.024 | 0.024 |  | 0.0056818 | 41.6667 |  | 0.21738
EUTECTICS | 2022-12-06 | Species | Ramp | Theoretical | Onset | Offset | [9 empty] | ADH | 176 | 175.983 | -0.017 |  | 0.0056818 | -58.8235 |  | 0.21738
|  | MgCl2 | 0.5 | 240.48 | 242.395 | 1.915 | [9 empty] | ADH | 176 | 175.999 | -0.001 |  | 0.0056818 |  |  | 0.21738
|  | MgCl2 | 0.1 | 240.48 | 240.775 | 0.295 | [9 empty] | ADH | 176 | 176.18 | 0.18 |  | 0.0056818 | 5.5556 |  | 0.21738
|  | NaCl | 0.25 | 252.29 | 253.359 | 1.069 | [9 empty] | ADH | 176 | 176.007 | 0.007 |  | 0.0056818 |  |  | 0.21738
|  | NaCl | 0.25 | 252.29 | 253.159 | 0.869 | [9 empty] | ADH | 176 | 175.989 | -0.011 |  | 0.0056818 |  |  | 0.21738
|  | NaCl | 0.1 | 252.29 | 252.46 | 0.17 | [9 empty] | THF | 164.75 | 164.798 | 0.048 |  | 0.0060698 |  |  | 0.15954
|  | NaCl | 0.5 | 252.29 | 254.466 | 2.176 | [9 empty] | CP | 122.38 | 122.393 | 0.013 |  | 0.0081713 | 76.9231 |  | 0.065358
[16 empty] | CP | 122.38 | 122.294 | -0.086 |  | 0.0081713 | -11.6279 |  | 0.065358
[16 empty] | H2O | 273.15 | 273.817 | 0.667 |  | 0.003661 | 1.4993 |  | -0.24477
[16 empty] | H2O | 273.15 | 273.716 | 0.566 |  | 0.003661 | 1.7668 |  | -0.24477
[16 empty] | Indium | 429.7485 |  | 0.46 |  | 0.0023269 | 2.1739 |  | -0.10184
[12 empty] | 100 | 0.043177
[12 empty] | 110 | 0.05194
[12 empty] | 120 | 0.062512
[12 empty] | 130 | 0.075519 | [7 empty] | 4298.1365 |  | -0.050452
[12 empty] | 140 | 0.091911 | [7 empty] | -19.8209 |  | -216.8488
[12 empty] | 150 | 0.11321
[12 empty] | 160 | 0.142
[12 empty] | 170 | 0.18307
[12 empty] | 180 | 0.24645
[12 empty] | 190 | 0.35703
[12 empty] | 200 | 0.59888
[12 empty] | 210 | 1.547 | [12 empty] | Species | Eutectic Temperature | Peak Onset Temperature | Measured - Theoretical
[12 empty] | 220 | -3.5222 | [12 empty] | MgCl2 | 240.48 | 240.775 | 0.295
[12 empty] | 230 | -0.88234 | [12 empty] | NaCl | 252.29 | 252.46 | 0.17
[12 empty] | 240 | -0.52301 | [12 empty] | ADH | 176 | 175.984 | -0.016
[12 empty] | 250 | -0.38047 | [12 empty] | ADH | 176 | 175.988 | -0.012
[12 empty] | 260 | -0.30399 | [12 empty] | ADH | 176 | 175.85 | -0.15
[12 empty] | 270 | -0.25629 | [12 empty] | ADH | 176 | 175.999 | -0.001
[12 empty] | 280 | -0.22369 | [12 empty] | ADH | 176 | 175.98 | -0.02
[12 empty] | 290 | -0.20001 | [12 empty] | ADH | 176 | 175.955 | -0.045
[12 empty] | 300 | -0.18202 | [12 empty] | ADH | 176 | 176.054 | 0.054
[12 empty] | 310 | -0.1679 | [12 empty] | ADH | 176 | 176.013 | 0.013
[12 empty] | 320 | -0.15651 | [12 empty] | ADH | 176 | 176.024 | 0.024
[12 empty] | 330 | -0.14714 | [12 empty] | ADH | 176 | 175.983 | -0.017
[12 empty] | 340 | -0.13929 | [12 empty] | ADH | 176 | 175.999 | -0.001
[12 empty] | 350 | -0.13262 | [12 empty] | ADH | 176 | 176.18 | 0.18
[12 empty] | 360 | -0.12688 | [12 empty] | ADH | 176 | 176.007 | 0.007
[12 empty] | 370 | -0.12189 | [12 empty] | ADH | 176 | 175.989 | -0.011
[12 empty] | 380 | -0.11751 | [12 empty] | THF | 164.75 | 164.798 | 0.048
[12 empty] | 390 | -0.11364 | [12 empty] | CP | 122.38 | 122.393 | 0.013
[12 empty] | 400 | -0.11019 | [12 empty] | CP | 122.38 | 122.294 | -0.086
[12 empty] | 410 | -0.10709 | [12 empty] | H2O | 273.15 | 273.817 | 0.667
[12 empty] | 420 | -0.10431 | [12 empty] | H2O | 273.15 | 273.716 | 0.566
[12 empty] | 430 | -0.10178 | [12 empty] | Indium | 429.7485 |  | 0.46
[12 empty] | 440 | -0.099479
[12 empty] | 450 | -0.097376

## Conversions
MASS FRACTION TO MOLALITY TO PPT |  |  |  |  | FROM DESIRED WT% TO VOLUMES
x (wt%) | x (ratio) | m (mol/kg) | ppt (g/kg) |  |  |  |  | 1ml |  | 5ml
|  | 5 |  |  | wt% | x | ratio | NH4OH | H2O | NH4OH | H2O
1 | 0.01 | 0.5931 | 10.101 | 0.5931 | 15 | 0.15 | 1.7766 | 0.63985 | 0.36015 | 3.1992 | 1.8008
2 | 0.02 | 1.1983 | 20.4082 | 1.1983 | 6 | 0.06 | 0.40462 | 0.28807 | 0.71193 | 1.4403 | 3.5597
3 | 0.03 | 1.816 | 30.9278 | 1.816 | 4 | 0.04 | 0.24619 | 0.19755 | 0.80245 | 0.98777 | 4.0122
4 | 0.04 | 2.4465 | 41.6667 | 2.4465 | 2 | 0.02 | 0.11321 | 0.1017 | 0.8983 | 0.50848 | 4.4915
5 | 0.05 | 3.0903 | 52.6316 | 3.0903 |  | 0 | 0 | 0 | 1 | 0 | 5
[6 empty] | 0 | 0 | 0 | 1 | 0 | 5

## Values
ADH Peak | K | 176
NH3 molar mass | g / mol | 17.031
[5 empty] | tautm | tau2tm | d2t | d1t | d2T=d2T.*tautm.^2+d1T.*tau2tm; | cp
New bottle |  |  |  | mat | 0.0033333 | -1.1111e-05 | -1431937.8364 | -171015.3343 | -14.0102 | 4203.0655
density | g / ml | 0.7095 |  | py | 0.0033333 | -1.1111e-05 | -1431829.3673 | -170965.3732 | -14.0096 | 4202.8704
concentration | wt % | 26.9 | 0.269 | [8 empty] | 1.9002
|  |  |  | T | 300
Old Bottle
density | g / ml | 0.789
concentration | wt % | 20 | 0.2
[11 empty] | -739.8894 | -5.6807

## Errors
Pure phase Cp |  | heatflow | 1e-07
|  | mass | 0.0001
|  | T | 0.0001
unc
Solid Fraction |  | liquid fraction error |  | 1e-07 | 0.037037
[8 empty] | wt % | error | error % | T (bottle) | Mass | Theoretical Density | Difference
[8 empty] | 2.5 | 0.45 | 18 | 4.5 | 0.8227 | 0.91304 | -0.09034 | 913.04
[8 empty] | 2.9 | 0.4 | 13.7931 | 8 | 0.8096 | 0.91116 | -0.10156 | 911.16
[8 empty] | 2.9 | 0.4 | 13.7931 | 9.3 | 0.7949 | 0.91044 | -0.11554 | 910.44
[8 empty] | 4.9 | 0.5 | 10.2041 | 10.3 | 0.8125 | 0.90988 | -0.09738 | 909.88
[8 empty] | 7.9 | 0.3 | 3.7975 | 10.5 | 0.8001 | 0.90977 | -0.10967 | 909.77
[8 empty] | 8.1 | 0.3 | 3.7037 | 21.1 | 0.7095 | 0.90344 | -0.19394 | 903.44
[8 empty] | 9.7 | 0.3 | 3.0928 | 21.1 | 0.7184 | 0.90344 | -0.18504 | 903.44
[8 empty] | 14.2 | 0.3 | 2.1127 | 21.1 | 0.7092 | 0.90344 | -0.19424 | 903.44
[8 empty] | 20 | 0.2 | 1 | 21.1 | 0.7156 | 0.90344 | -0.18784 | 903.44
[8 empty] | 26.9 | 0.1 | 0.37175 | 21.1 | 0.7292 | 0.90344 | -0.17424 | 903.44
[8 empty] | *1.42 | * |  | 21.1 | 0.6925 | 0.90344 | -0.21094 | 903.44
[8 empty] | *2.0 |  |  | 21.1 | 0.7043 | 0.90344 | -0.19914 | 903.44
[11 empty] | 21.1 | 0.7082 | 0.90344 | -0.19524 | 903.44
[11 empty] | 21.1 | 0.7133 | 0.90344 | -0.19014 | 903.44
[11 empty] | 21.1 | 0.688 | 0.90344 | -0.21544 | 903.44
[6 empty] | 2.4 | 275.55
[6 empty] | 20.6 | 293.75
[6 empty] | 41 | 314.15
[6 empty] | 60.9 | 334.05

## Final wt%
Without Temperature Offset |  |  |  | With Temperature Offset (n2poly) |  |  |  |  | With Temperature Offset (tanh)
Measured Peak T (K) | wt% | absolute error | relative error (%) | T_offset from polynomial (K) | Adjusted T (K) | adjusted wt% | absolute error | relative error (%) | T_offset from polynomial (K) | Adjusted T (K) | adjusted wt% | absolute error | relative error (%)
271 | 2.5 | 0.5 | 20 | 0.5293 | 270.4707 | 2.9 | 0.5 | 17.2414 | 0.51311 | 270.4707 | 2.9 | 0.5 | 17.2414
270.5 | 2.9 | 0.4 | 13.7931 | 0.52479 | 269.9752 | 3.3 | 0.4 | 12.1212 | 0.51049 | 269.9752 | 3.3 | 0.4 | 12.1212
267.8 | 4.9 | 0.5 | 10.2041 | 0.5007 | 267.2993 | 5.2 | 0.5 | 9.6154 | 0.49452 | 267.2993 | 5.2 | 0.5 | 9.6154
267.7 | 4.9 | 0.5 | 10.2041 | 0.49982 | 267.2002 | 5.2 | 0.5 | 9.6154 | 0.49386 | 267.2002 | 5.2 | 0.5 | 9.6154
262.8 | 7.9 | 0.3 | 3.7975 | 0.45751 | 262.3425 | 8.2 | 0.3 | 3.6585 | 0.45573 | 262.3425 | 8.2 | 0.3 | 3.6585
262.5 | 8.1 | 0.3 | 3.7037 | 0.45497 | 262.045 | 8.4 | 0.3 | 3.5714 | 0.453 | 262.045 | 8.4 | 0.3 | 3.5714
259.6 | 9.7 | 0.3 | 3.0928 | 0.43082 | 259.1692 | 10 | 0.2 | 2 | 0.42412 | 259.1692 | 10 | 0.2 | 2
250.7 | 14.2 | 0.3 | 2.1127 | 0.3605 | 250.3395 | 14.4 | 0.2 | 1.3889 | 0.31221 | 250.4 | 14.3 | 0.1 | 0.6993
235.2 | 20 | 0.2 | 1 | 0.25182 | 234.9482 | 20.1 | 0.1 | 0.49751 | 0.11951 | 235.1 | 20.07 | 0.03 | 0.14948
207.4 | 26.9 | 0.1 | 0.37175 | 0.10069 | 207.2993 | 26.93 | 0.0405 | 0.15039 | 0.010076 | 207.4 | 26.912 | 0.002 | 0.0074316
274.5 | *1.42
273.4777 | *2.0
tanh coeff
[9 empty] | a | 0.28559
[9 empty] | b | -248.8154
[9 empty] | c | 0.048959
[9 empty] | d | 0.28594