## Slide 1
New bottle
Temporal variation of the 1 ml measurement
Volumetric variation: 5 ml measurement, higher density
Possible reasons for variation
  Volatile loss
  Temperature (?)
Density Measurements
Date | Volume | Mass (g) | Density
Aug 22 | 5 ml | 3.7778 | 0.7556
Sep 12 | 1 ml | 0.6158 | 0.6158
Sep 26 | 1 ml | 0.6765 | 0.6765
Oct 04 | 1 ml | 0.7184 | 0.7184
Oct 04 | 1 ml | 0.7092 | 0.7092
Oct 04 | 5 ml | 3.8104 | 0.7621
Oct 04 | 5 ml | 3.8533 | 0.7707

## Slide 2
Aim: Quantify errors in solution preparation process
Using 0.712 ml NH4OH (26.9 wt%, 0.7092 g/ml) 4.288 mL H2O, for 2.84 wt%
Mean = 4.7648 g
SD = 0.0137 g
Range = 0.0436 g
Repeat Mass Measurements
Mass (g)
4.7913
4.7610
4.7589
4.7480
4.7548
4.7477
4.7644
4.7722
4.7735
4.7761

## Slide 3
Use calibrated masses
Change pipette tips for every single time we pipette
  Account for manufacturing variation in pipette tips
  Find a pipette tip box
10x (?) of same volume ratio, but at 1 ml
  Determine if larger volume result in higher mass readouts
  If time permits, do for 2.5 ml (or 3 ml)
Do preparation in a glovebox instead of a fumehood
  To check if there are unaccounted for reactions occurring with air
  183-213
Further Mass Measurements

## Slide 4
Magma Oceans
Planetary Formation & Evolution
Yasuhiro Hasegawa
  Planetary and disk formation
Raissa Estrela
  Stellar activity effect on planet
  Observational atmospheric characterization of exoplanets, focus on aerosols
  Evolution of atmospheric envelope of SE and SN
Renyu Hu
  Evolution of planetary atmospheres, stable isotope geochemistry
  Atmospheres
Sarah Seager
Lindy-Elkins Tanton
Anyone in JPL works on

## Slide 5
Yasuhiro Hasegawa
  Planetary and disk formation
Raissa Estrela
  Stellar activity effect on planet
  Observational atmospheric characterization of exoplanets, focus on aerosols
  Evolution of atmospheric envelope of SE and SN
Renyu Hu
  Evolution of planetary atmospheres, stable isotope geochemistry
  Atmospheres
Will be emailing:
Sarah Seager
Lindy-Elkins Tanton (?)
Anyone in JPL works on

## Slide 6
Yasuhiro Hasegawa
  Planetary and disk formation
Raissa Estrela
  Stellar activity effect on planet
  Observational atmospheric characterization of exoplanets, focus on aerosols
  Evolution of atmospheric envelope of SE and SN
Renyu Hu
  Evolution of planetary atmospheres, stable isotope geochemistry
  Atmospheres
Will be emailing:
Sarah Seager
Lindy-Elkins Tanton (?)
Anyone in JPL works on