## Slide 1
Update of Latest Data
Summary of Mass Measurements
PlanetProfile incorporation
Summary

## Slide 2
2.9 wt% Small Heat Flow | 7.9 wt% Large Heat Flow
Latest Data

## Slide 3
2.9 wt% Small Heat Flow | 7.9 wt% Large Heat Flow
  Wild behavior in melt phase
  Smaller sample V (1 mL)  inc. percentage variation delta mass of water ice  inc. variability in the heat used to heat the ice.
Latest Data

## Slide 4
2.9 wt% Small Heat Flow | 7.9 wt% Large Heat Flow
  Wild behavior in melt phase
  Smaller sample V (1 mL)  inc. percentage variation delta mass of water ice  inc. variability in the heat used to heat the ice.
  Higher than others (2.5, 4.9) in pure phase
    Why?
    Blank is not accurate?
Latest Data

## Slide 5
2.9 wt% Small Heat Flow | 7.9 wt% Large Heat Flow
                Miscalculated volume ratios to be used in sample (was supposed to go for 6 wt%)
Latest Data

## Slide 6
Extrapolation is bad
Weighted Average Best Fit
  Is based on coefficients of Shomate Equation
Fit of “good” data

## Slide 7
Independent Mass Balance
Evaporation
Other Volatiles
Drops of NH4OH
To answer:
Why are our measured density of NH4OH (~0.7) is lower than theoretical (~0.9)?
Why are 1 mL densities lower than 5 mL densities (~0.03 lower)?
Mass Measurements

## Slide 8
A small 0.002 g offset.
This, combined with the pure water calibration test, I am convinced that our mass balance is calibrated.
OHL Mass Balance
 | cell | cell + samp
624 | 70.1138 | 70.7974
OHL | 70.1117 | 70.7950
Difference | 0.0021 | 0.0024

## Slide 9
4 tests:
  Outside: cell left on mass balance outside the fume hood
  Hood: cell place inside the hood, and taken out to measure on mass balance
    Mass balance in the hood does not work due to wind shield on mass balance
Small difference in/out of hood
Greater loss with greater volume
In sample prep, cell is uncapped < 1min, with <3 mL NH4OH, maximal losses of ~0.02 g.
Evaporation
 | 1 ml, outside |  | 1ml, hood |  | 5ml, outside |  | 5ml, hood | 
 | Mass | Change | Mass | Change | Mass | Change | Mass | Change
start* | 0.6830 |  | 0.6699 |  | 4.3052 |  | 4.1466 | 
1min | 0.6710 | 0.0120 | 0.6543 | 0.0156 | 4.2847 | 0.0205 | 4.1247 | 0.0219
2min | 0.6591 | 0.0119 | 0.6446 | 0.0097 | 4.2639 | 0.0208 | 4.1042 | 0.0205
3min | 0.6501 | 0.0090 | 0.6347 | 0.0099 | 4.2447 | 0.0192 | 4.0870 | 0.0172

## Slide 10
From theoretical rho:
  Lower
Between 1 mL vs 5 mL:
  No difference
Other Volatiles
THF | 5 ml | 5 ml rho | diff | 1 ml | diff
Theoretical | 4.1676 | 0.8335 | -0.0555 | 0.8382 | -0.0508
0.889 | 4.1763 | 0.8353 | -0.0537 | 0.8320 | -0.0570
 | 4.1716 | 0.8343 | -0.0547 | 0.8341 | -0.0549
Methanol | 5 ml | 5 ml rho | diff | 1 ml | diff
Theoretical | 3.8379 | 0.7676 | -0.0244 | 0.7688 | -0.0232
0.792 |  |  |  | 0.7681 | -0.0239

## Slide 11
From theoretical rho:
  Lower
Between 1 mL vs 5 mL:
  No difference
Main Observation
  All liquids do not experience dripping from pipette during preparation.
  Only NH4OH drips.
  Surface tension values do not show this?
    NH3 represent pure ammonia
    For ~25 wt%, value is 52.5 (T not mentioned)
Other Volatiles
THF | 5 ml | 5 ml rho | diff | 1 ml | diff
Theoretical | 4.1676 | 0.8335 | -0.0555 | 0.8382 | -0.0508
0.889 | 4.1763 | 0.8353 | -0.0537 | 0.8320 | -0.0570
 | 4.1716 | 0.8343 | -0.0547 | 0.8341 | -0.0549
Methanol | 5 ml | 5 ml rho | diff | 1 ml | diff
Theoretical | 3.8379 | 0.7676 | -0.0244 | 0.7688 | -0.0232
0.792 |  |  |  | 0.7681 | -0.0239
Surface Tension (mN/m at 20C) |  |  | 
H2O | NH3 | THF | CH3OH
72.8 | 22.0 | 26.4 | 22.7

## Slide 12
Very basic tests
Drops during sample prep not counted
  Roughly around 3-5 drops per pipette
  Equates to 0.05, 0.07, 0.08 g loss
Drips
Drops Lost | Mass | Mass/Drop Mean
4 | 0.6714 | 0.0167
4 | 0.6675 | 
6 | 0.6318 | 
6 | 0.6405 | 

## Slide 13
Density difference from theoretical (0.7 vs 0.9, ~0.2 g) may be due to:
  Unaccounted drips from pipette ~ 0.05 – 0.08 g
  Something about the mass balance, which also affected other volatile solutions ~ 0.02 – 0.05 g
  Evaporative loss (< 10 s) < 0.01 g
  Adds up to 0.08 – 0.14 g
Plausible, but incomplete reason.
Density difference between 1 mL vs 5 mL still unexplained.
Mass measurement summary

## Slide 14
PlanetProfile
Just managed to get it working today.
Preliminary observations
  Larger ocean due to anti-freeze
  Lower MOI:
    NH3 lower density
    Less mass near surface
    Lower MOI
    Require silicate modifications to compensate
      Porosity

## Slide 15
Moving forward, aim to redo anomalous experiments
  Oct 28-31: 6 wt%
  Nov 03-07: 4 wt%
  Nov 08-11: 2 wt%
Plan Forward

## Slide 16
Affects Cp results:
  Ice Cp being lower than literature
  Density measurements being lower than lit
Does not affect Cp results:
  ADH double peaks
Unanswered Questions