## Slide 1
Deciding on results to use
Oscillations
Degree of smoothing
Current Result
Summary

## Slide 2
0.25 K/min discarded (n=6)
  Hysteresis – recorded heat flow may not represent equilibrium flow at specified Temperature
  Liquidus peak temperatures >5 K from 273.15 K, impossible to determine wt%
< 5 wt% discarded (n=4)
  Wt% highly sensitive to temperature
  >10 % relative error in wt%
  Further unconstrained error from using min. peak T versus peak-onset T.
We have 8 datasets.
Results
ramp | 0.25 K/min | 0.10 K/min |  | 
supply bottle | old | old | new | 
no. of Expt | 6 | 5 | 7 | 18

## Slide 3
Temperature offset adjustment
  Higher wt%, lower offset.
Changes up to 0.4 wt%
Results
Chart: Theoretical T (K)
| 240.48 | 252.29 | 176 | 176 | 176 | 176 | 176 | 176 | 176 | 176 | 176 | 176 | 176 | 176 | 176 | 176 | 164.75 | 122.38 | 122.38 | 273.14999999999998 | 273.14999999999998
All | 0.295 | 0.17 | -0.016 | -0.012 | -0.15 | -0.001 | -0.02 | -0.045 | 0.054 | 0.013 | 0.024 | -0.017 | -0.001 | 0.18 | 0.007 | -0.011 | 0.048 | 0.013 | -0.086 | 0.667 | 0.566
ADH | -0.016 | -0.012 | -0.15 | -0.001 | -0.02 | -0.045 | 0.054 | 0.013 | 0.024 | -0.017 | -0.001 | 0.18 | 0.007 | -0.011
THF | 0.048
CP | 0.013 | -0.086
H2O | 0.667 | 0.566
MgCl2 | 0.295
NaCl | 0.17
Without Temperature Offset |  |  |  | With Temperature Offset |  |  |  | 
Peak T (K) | wt% | abs error | rel error (%) | T_offset (K) | Adj T (K) | adj wt% | abs error | rel error (%)
271.0 | 2.5 | 0.5 | 20.0 | 0.5 | 270.5 | 2.9 | 0.5 | 17.2
270.5 | 2.9 | 0.4 | 13.8 | 0.5 | 270.0 | 3.3 | 0.4 | 12.1
267.8 | 4.9 | 0.5 | 10.2 | 0.5 | 267.3 | 5.2 | 0.5 | 9.6
267.7 | 4.9 | 0.5 | 10.2 | 0.5 | 267.2 | 5.2 | 0.5 | 9.6
262.8 | 7.9 | 0.3 | 3.8 | 0.5 | 262.3 | 8.2 | 0.3 | 3.7
262.5 | 8.1 | 0.3 | 3.7 | 0.5 | 262.0 | 8.4 | 0.3 | 3.6
259.6 | 9.7 | 0.3 | 3.1 | 0.4 | 259.2 | 10.0 | 0.2 | 2.0
250.7 | 14.2 | 0.3 | 2.1 | 0.4 | 250.3 | 14.4 | 0.2 | 1.4
235.2 | 20.0 | 0.2 | 1.0 | 0.3 | 234.9 | 20.1 | 0.1 | 0.5
207.4 | 26.9 | 0.1 | 0.4 | 0.1 | 207.3 | 26.9 | 0.0 | 0.2

## Slide 4
Can be found in heatflow data
Goal is to eliminate this
Oscillations

## Slide 5
Tried FFT
Oscillations

## Slide 6
Tried FFT
Doesn’t work on heat flow data
Oscillations
data

## Slide 7
Tried FFT
Doesn’t work on heat flow data
Tried with deviations from a spline
Oscillations

## Slide 8
Tried FFT
Doesn’t work on heat flow data
Tried with deviations from a spline
Oscillations

## Slide 9
Tried FFT
Doesn’t work on heat flow data
Tried with deviations from a spline
Some similar freq, Not clear.
Oscillations

## Slide 10
Oscillations are not entirely consistent across runs
Oscillations

## Slide 11
Oscillations
Oscillations are not entirely consistent across runs
Oscillations different with different ramp rate
Not sure if taking deviations from a fit is the right way
0.25 K/min
0.1 K/min

## Slide 12
If the goal is to eliminate oscillations, we do so by:
  Identifying systematic errors, applying a filter to remove systematic noise
  Fitting thermogram to a spline?
Oscillations

## Slide 13
What is the approach to determine how much smoothing?
Smooth blank/heat flow data until variability is removed?
Averaging

## Slide 14
Dealing with oscillations & error bars: are they acceptable for applications?
Current Result (3K averaging)

## Slide 15
https://www.overleaf.com/3299537498fhjqhckknjms
Introduction is complete
Experimental Methods is 90% complete
  Need to update how I narrowed down this dataset
Working on results next
  If current results are final
    Pursuing FFT and systematic noise removal of oscillations?
    Using a spline on thermogram data to smooth?
    Deciding on moving average smoothing Temperature bin?
Manuscript in progress

## Slide 16
Start with thermogram
Extract cp from partial melt regime & pure liquid phase
Process

## Slide 17
Melting phase: combination of 3 processes:
  Heat to melt ice
  Heat to warm ice
  Heat to warm liquid
, and terms from expt
terms extracted from lever rule (depends on wt%)
extracted from Feistel & Wagner, 2006
extracted from SeaFreeze
Find
Deconvolution

## Slide 18
Latent Heat
extracted from SeaFreeze
Hwater – Hice
Extrapolate for values below 240K