## Slide 1
Uncertainties in measurement
Mass fraction calculation options
NH3 EOS errors of rho and cp w.r.t T and m
Periodicity in melting phase
Mass fraction dependence in pure phase
Thermogram double peaks
Summary

## Slide 2
Mass of NH4OH (mass balance) = 0.7889 ± 0.001 g
  Some mass fluctuation at 0.0001 scale, thus I manually raised the uncertainty. (It increases density uncertainty by 0.001.
Volume of NH4OH (pipette) = 1.000 ± 0.006 ml
Density of NH4OH = 0.789 ± 0.006 g/ml
Mass Fraction of NH3 = 1.42 – 8.7 ± 0.02 – 0.1 %
Molality of NH3 = 0.85 – 5.6 ± 0.03 – 0.2
Temperature of Sample Error = 0.5 K (Muñoz-Iglesias et. al. 2018)
Error Propagation

## Slide 3
From laboratory measurements
Based on density, volume and concentration of NH4OH, with mass of sample
Mass fraction calculation option 1
No. | (g/ml) | (ml) | (wt%) | (g) | (wt%)
1 | 0.789 ± 0.005 | 0.44 ± 0.005 | 20 ± ? | 4.8873 ± 0.001 | 1.42 ± 0.03
2 | 0.789 ± 0.005 | 0.87 ± 0.006 | 20 ± ? | 4.8402 ± 0.001 | 2.84 ± 0.04
3 | 0.789 ± 0.005 | 1.50 ± 0.01 | 20 ± ? | 4.6293 ± 0.001 | 5.11 ± 0.07
4 | 0.789 ± 0.005 | 2.00 ± 0.01 | 20 ± ? | 4.5853 ± 0.001 | 6.88 ± 0.09
5 | 0.789 ± 0.005 | 2.50 ± 0.02 | 20 ± ? | 4.5202 ± 0.001 | 8.7 ± 0.1
No. |  |  |  |  | 
1 | 0.789 ± 0.005 | 0.44 ± 0.005 | 20 ± ? | 4.8873 ± 0.001 | 1.42 ± 0.03
2 | 0.789 ± 0.005 | 0.87 ± 0.006 | 20 ± ? | 4.8402 ± 0.001 | 2.84 ± 0.04
3 | 0.789 ± 0.005 | 1.50 ± 0.01 | 20 ± ? | 4.6293 ± 0.001 | 5.11 ± 0.07
4 | 0.789 ± 0.005 | 2.00 ± 0.01 | 20 ± ? | 4.5853 ± 0.001 | 6.88 ± 0.09
5 | 0.789 ± 0.005 | 2.50 ± 0.02 | 20 ± ? | 4.5202 ± 0.001 | 8.7 ± 0.1

## Slide 4
From using the temperature of the measured liquidus peak to determine theoretical mass fraction via the liquidus curve
Mass fraction calculation option 2
Liquidus Peak T (K) | (wt%) (option 2) | (wt%) (option 1)
274.5 ± 0.5 | ? | 1.42 ± 0.03
271.0 ± 0.5 | 2.5 ± 0.5 | 2.84 ± 0.04
268.2 ± 0.5 | 4.6 ± 0.7 | 5.11 ± 0.07
262.9 ± 0.5 | 7.9 ± 0.6 | 6.88 ± 0.09
259.6 ± 0.5 | 9.7 ± 0.5 | 8.7 ± 0.1
207.2 ± 0.5 | 27.0 ± 0.2 | 28 – 30
Liquidus Peak T (K) |  | 
274.5 ± 0.5 | ? | 1.42 ± 0.03
271.0 ± 0.5 | 2.5 ± 0.5 | 2.84 ± 0.04
268.2 ± 0.5 | 4.6 ± 0.7 | 5.11 ± 0.07
262.9 ± 0.5 | 7.9 ± 0.6 | 6.88 ± 0.09
259.6 ± 0.5 | 9.7 ± 0.5 | 8.7 ± 0.1
207.2 ± 0.5 | 27.0 ± 0.2 | 28 – 30

## Slide 5
From NH3 EOS, extract mass fraction based on density of sample
Assumed measurements done at 25°C
Mass fraction calculation option 3
No. | (g/ml) | Molality (mol/kg) | (wt%) (option 3) | (wt%) (option 2) | (wt%) (option 1)
1 | 0.977 ± 0.007 | 3 ± 1 | 5 ± 4 | ? | 1.42 ± 0.03
2 | 0.968 ± 0.007 | 5 ± 2 | 7 ± 4 | 2.5 ± 0.5 | 2.84 ± 0.04
3 | 0.926 ± 0.006 | 14 ± 3 | 19 ± 4 | 4.6 ± 0.7 | 5.11 ± 0.07
4 | 0.917 ± 0.006 | 16 ± 4 | 22 ± 4 | 7.9 ± 0.6 | 6.88 ± 0.09
5 | 0.904 ± 0.007 | 21 ± 5 | 25 ± 5 | 9.7 ± 0.5 | 8.7 ± 0.1
No. |  | Molality (mol/kg) |  |  | 
1 | 0.977 ± 0.007 | 3 ± 1 | 5 ± 4 | ? | 1.42 ± 0.03
2 | 0.968 ± 0.007 | 5 ± 2 | 7 ± 4 | 2.5 ± 0.5 | 2.84 ± 0.04
3 | 0.926 ± 0.006 | 14 ± 3 | 19 ± 4 | 4.6 ± 0.7 | 5.11 ± 0.07
4 | 0.917 ± 0.006 | 16 ± 4 | 22 ± 4 | 7.9 ± 0.6 | 6.88 ± 0.09
5 | 0.904 ± 0.007 | 21 ± 5 | 25 ± 5 | 9.7 ± 0.5 | 8.7 ± 0.1

## Slide 6
NH3 EOS Errors (specific heat)
I assumed m in PTm inputs in Seafreeze corresponds to molality (mol/kg)
Rotatable .fig files attached in email

## Slide 7
NH3 EOS Errors (specific heat)
Zoomed in

## Slide 8
NH3 EOS Errors (density)
I assumed m in PTm inputs in Seafreeze corresponds to molality (mol/kg)
Rotatable .fig files attached in email

## Slide 9
Moving averages & splines
Apparent periodicity in 1K bin moving average
Time and T are linearly proportional (interchangeable)

## Slide 10
Moving averages & splines
Periodicity appears in heatflow (both in uncorrected and corrected)
Currently figuring out how to extract frequencies (FFT)

## Slide 11
Pure phase
cp dependence on mass fraction
Initial slope downwards may be due to remnant from endothermic peak of ice melting
  Fixable with more stringent cut-off of data?
8.73 wt% defies inverse relationship, but 27 wt% also has greater cp.

## Slide 12
Ice specific heat
Data from pure H2O, 2.5 ml, 0.1 K/min AND 0.25 K/min

## Slide 13
Double peak at ADH melt
Double peak still exists in 1mL, 0.1K/min, Small Heat Flow run